# Appendix 3: Suggested Items in a Concept Plan/Feasibility Study

- Location Map

- Description of the drainage problem

- Description and mapping of project alternatives

- Acreage draining to proposed project

- Mapping of known wetlands (National Wetland Inventory may be a useful source)

- Mapping of public waters

Has the ordinary high-water level (OHWL) been determined for public waters within the project area?
If not, consider contacting your Area Hydrologist at this time to request a OHWL determination.

- Identification of downstream TMDLs

- Mapping of benefitting lands

- Determination of the As Constructed and Subsequently Improved Condition of the existing public drainage system

- Photo documentation of existing site conditions

- Identification of appropriate design criteria